NRC INSPECTION MANUAL

INSPECTION PROCEDURE 70326

PREOPERATIONAL TEST RESULTS EVALUATION -

LOSS OF OFFSITE POWER

PROGRAM APPLICABILITY:

70326-01	INSPECTION OBJECTIVES

01.01	Assure that test results are being adequately evaluated.

01.02	Assure test data meets acceptance criteria, and that deviations are properly identified and resolved.

01.03	Verify that the review procedures are being followed.

01.04	Evaluate the adequacy of the licensee's administrative practices with respect to test execution and data evaluation.

70326-02	INSPECTION REQUIREMENTS

The inspector shall:

02.01	Review Regulatory Guide 1.68 and FSAR to determine licensee commitments;

02.02	Review the Loss of Offsite Power Test results per inspection procedure MC 70400.

70326-03	INSPECTION GUIDANCE

03.01	The inspector should review the test requirements and licensee commitments related to this test.  In addition to Regulatory Guide 1.68 and the FSAR, this may include a review of the TS, SER and docketed correspondence with the licensee.

03.02	The review of these test results should include load shedding and sequencing.

END