NRC INSPECTION MANUAL	DIRS

Change Notice 09-025

DELETED:		TRANSMITTED:

Number		Date	Number	Date

- IMC 0040		08/19/08	IMC 0040	10/29/09

- IMC 2515 App B	01/26/07	IMC 2515 App B	10/29/09

- ________		_______	TI 2500/26	11/20/87

- ________		_______	TI 2500/27	05/22/89

- ________		_______	TI 2515/165	03/03/06

- IMC 0617		03/06/09	IMC 0617	10/29/09

- TRAINING:	None

REMARKS:	IMC 0040 (Preparing, Revising, and Issuing Documents for the NRC Inspection Manual) has been revised to stipulate that no new technical guidance or 10 CFR guidance documents will be issued and that these documents will be relocated in the future, clarify authorization requirements for documents affecting multiple program offices,  add a document issuing form for Office of Nuclear Security and Incident Response (NSIR) and reference the new Office of Nuclear Reactor Regulation (NRR) Office Instruction OVRST-102, “NRR Procedures for Processing Inspection Manual Documents.”  The revision also relocates program office document issuing forms from IMC 0040 to the NRR Digital City website.

IP 2515 App B (Supplemental Inspection Program) has been revised to add IP 52003, “Digital Instrumentation and Control Modification Inspection,” and remove references to previously deleted procedures.

The temporary instructions listed below are being reissued and reactivated as a part of the 10 CFR Part 50 construction inspection program to support the resumption of construction activities at Watts Bar Unit 2.  The inspection of construction activities at Watts Bar Unit 2, following restart of construction in 2007, is governed by Inspection Manual Chapter 2517, “Watts Bar Unit 2 Construction Inspection Program.”

TI 2500/26 (Inspection Requirements for NRC Compliance Bulletin 87-02, "Fastener Testing to Determine Conformance with Applicable Material Specifications)

TI 2500/27 (Inspection Requirements for NRC Compliance Bulletin 87-02, "Fastener Testing to Determine Conformance with Applicable Material Specifications)

TI 2515/165 (Operational Readiness of Offsite Power and Impact on Plant Risk)

- IMC 0617 (Vendor and Quality Assurance Implementation Inspection Reports) has been revised to: (1) expand the scope to include quality assurance implementation inspections, (2)  clarify text in subsection 06.01 for types of violations, and (3) add Appendix E to give examples of minor violations.

DISTRIBUTION:  Standard

- END